## Slide 1: 12. TECHNICAL PROPOSAL
12.2 Main Incoming Power Supply
Proposed incoming power supply from MSB
Proposed power cable routing to EVDB
Picture 2 : Proposed power supply cable with PE from MSB to EVDB via existing cable tray.
Picture 1: Proposed to Upgrade 1 x MCCB 150A TPN (Spare) to 1 x MCCB 100A TPN (New)

## Slide 2: 12. TECHNICAL PROPOSAL
Proposed power cable routing to EVDB
Proposed power supply cable routing to charging stations
12.3 Power Supply Cable Routing
Picture 4 : Proposed power supply cable with PE from MSB from EVDB via existing cable tray.
Picture 3 : Proposed power supply cable with PE from MSB to EVDB via existing cable tray.

## Slide 3: 12. TECHNICAL PROPOSAL
Proposed power supply cable routing to charging stations
Proposed to install 2 x 22kW EV AC charging stations
12.3 Power Supply Cable Routing
Picture 6 : Proposed power supply cable with PE from MSB to EVDB via existing and proposed cable tray
Picture 5 : Proposed power supply cable with PE from MSB to EVDB via existing and proposed cable tray

## Slide 4: 12. TECHNICAL PROPOSAL
Proposed power supply cable routing to charging stations
Proposed to install 2 x 22kW EV AC charging stations
12.3 Power Supply Cable Routing
Picture 8 : Proposed power supply cable with PE from MSB to EVDB via existing cable tray
Picture 7 : Proposed power supply cable with PE from MSB to EVDB via existing cable tray

## Slide 5: 12. TECHNICAL PROPOSAL
Proposed power supply cable routing to charging stations
Proposed to install 2 x 22kW EV AC charging stations
12.3 Power Supply Cable Routing
Picture 19 : Proposed power supply cable with PE from EVDB to charging stations via proposed cable trunking.
Picture 9 : Proposed power supply cable with PE from MSB to EVDB via existing cable tray

## Slide 6: 12. TECHNICAL PROPOSAL
Proposed to install 2 x 22kW EV AC charging stations
12.4 EV Charging Bays
Picture 11 : Proposed to install 2 x 22kW EV AC chargers on pedestal via proposed cable trunking.

## Slide 7: 12. TECHNICAL PROPOSAL
12.5 Wall Graphic Layout
Sample signage and parking bay graphic view

## Slide 9: 12. TECHNICAL PROPOSAL
12.6 TP Acknowledgement
 | Building Management/ PIC | CNG Implementation Manager | CNG Head of Engineering
Chop & Sign: |  |  | 
Name: Date: |  |  |